
[image: image1.jpg]Perfect Score

. I Site .. 160
1L Building 200

II. Service Systems. 250

IV. Class Rooms..... 25

V. Special Rooms. . 165

347 1000

The Selbyville School building is a seven-room, two-story
frame building, comparatively new and in good condition. It is
located on a site of approximately two acres, upon which nothing
has been done to improve the general appearance or usefulness for
school ends. The number of children attending the school justifies
a much larger site, and a modern school program would require
extensive development of the present site and proposed additions.
The internal structure of the building has not been planned
with any view to its use for school purposes. No evidence of modern
standards of school building architecture is discernible in the size,
shape or lighting of the rooms. Light is admitted from left and rear
in some cases and right and rear in others. New single desks of
good but non-adjustable type have been provided. Poor judgment,

o




[image: image2.png]however, has been used in the distribution of this equipment. There
is no variation in size of seats in any given room. Small children,
therefore, are required to sit in seats of exactly the same size as
average or large size children. This is a very serious criticism and
seats should be shifted from one room to another until a sufficiently
graded distribution is had to allow each pupil a seat that is adapted
to his size.

The stairway in the building is unsightly and out of all propor-
tions and size to the needs of the building. Although it is not recom-
mended that the stairway be changed at this time it seems feasible
to point out that a tremendous amount of space was wasted in the
construction of this stairway. The building is wired for electricity,
but insufficient light is provided for any purpose other than to meet
the nezds of the janitor in cleaning the building. The building is
heated by direct steam and in many respects is superior in service
systems. Upon one element, however, it is extremely bad; namely,
that of fire protection. Although the building has a front and rear
exit, and the stairway is wide enough to accommodate all the chil-
dren if not cut off by fire below, it seems advisable to suggest that a
fire escape be placed on the outside of the building to meet an emer-
gency arising through the blacking or destruction of the stairway.

Tn order for the building to approach an acceptable score, it will
be necessary for the community to provide an addition which will
accommodate manual training and domestic science courses and
indoor play space. This building is distinctive among the Delaware
schools in that it has a fairly decent library room and an unusually
large collection of good books available for pupils, under conditions
which are entirely acceptable.

TOWNSEND, DISTRICT NO. 8l, 814, 814

Score  Possible Score
ToSite oo, 95
1L Building . . 161 200
IIL Service Systems 62 250
IV. Class Rooms. L 173 225
V. Special Rooms. 45 165
536 1000

62




