
Page 186
SELBYVILLE NO 21O Colored

I. Site scored 55 out of a possible 160. 
II Building scored 70 out of a possible 200. 
III Service Systems scored 33 out of a possible 250. 
IV Class Rooms scored 69 out of a possible 225. 
V. Special Rooms scored 2 out of a possible 165. 

This is an old rectangular one room building 16x24 It is without vestibule or protected entrance in general bad repair though recently painted It cannot be said to have any site of its own for it is located on the corner of a churchyard It is on the main highway but is reached by a rather circuitous route through unimproved lanes and passageways through corn fields Although only 16x24 feet in size it has crowded into it seats for 40 pupils The seats are arranged in such a way as to require the children to face four open windows For such time as the building must be used for school purposes the two windows in the end of the room opposite the door should be closed and the seats arranged to face in that direction The building has nothing to recommend its continued use for school purposes and at the earliest possible time a new and adequate structure should be provided at some point more advantageous in every way than is the present location 




--
